## Raw Data
| S PLANE GRATING |  |  |  | S PLANE REF. |  |  |  |  | P PLANE GRATING |  |  |  | P PLANE REF. |  |  | S PLANE GRATING |  |  |  | S PLANE REF. |  |  |  |  | P PLANE GRATING |  |  |  | P PLANE REF. |  |  | S PLANE GRATING |  |  |  | S PLANE REF. |  |  |  |  | P PLANE GRATING |  |  |  | P PLANE REF.
WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS
8000 | 4609 | 0.00019181 | 8.8328e-05 | 8000 | 0 | 0.019052 | 0.00011388 | 8000 | 4609 | 0.00019181 | 8.8328e-05 | 8000 | 0 | 0.030938 | 0.00025835
8100 | 4684 | 0.00019064 | 8.6721e-05 | 8100 | 0 | 0.01983 | 8.2614e-05 | 8100 | 4684 | 0.00019064 | 8.6721e-05 | 8100 | 0 | 0.031187 | 0.0001686
8200 | 4760 | 0.00020046 | 9.6521e-05 | 8200 | 0 | 0.020701 | 0.0001556 | 8200 | 4760 | 0.00020046 | 9.6521e-05 | 8200 | 0 | 0.031826 | 0.00013445
8300 | 4837 | 0.00023289 | 0.00012566 | 8300 | 0 | 0.022028 | 0.0001643 | 8300 | 4837 | 0.00023289 | 0.00012566 | 8300 | 0 | 0.032871 | 0.00026426
8400 | 4915 | 0.00023603 | 0.00014434 | 8400 | 0 | 0.023828 | 0.00016566 | 8400 | 4915 | 0.00023603 | 0.00014434 | 8400 | 0 | 0.03455 | 0.00014577
8500 | 4995 | 0.00022326 | 0.00016149 | 8500 | 0 | 0.026372 | 0.00022604 | 8500 | 4995 | 0.00022326 | 0.00016149 | 8500 | 0 | 0.037141 | 0.00018395
8600 | 5076 | 0.00021584 | 5.2822e-05 | 8600 | 0 | 0.029616 | 0.00015306 | 8600 | 5076 | 0.00021584 | 5.2822e-05 | 8600 | 0 | 0.040428 | 0.00018566
8700 | 5158 | 0.00030103 | 0.00012222 | 8700 | 0 | 0.033764 | 0.00015709 | 8700 | 5158 | 0.00030103 | 0.00012222 | 8700 | 0 | 0.044338 | 0.00012255
8800 | 5242 | 0.00034276 | 0.00019368 | 8800 | 0 | 0.038569 | 0.00011062 | 8800 | 5242 | 0.00034276 | 0.00019368 | 8800 | 0 | 0.04888 | 0.00016703
8900 | 5327 | 0.00019063 | 0.00016045 | 8900 | 0 | 0.044042 | 0.00020873 | 8900 | 5327 | 0.00019063 | 0.00016045 | 8900 | 0 | 0.05383 | 0.00015182
9000 | 5414 | 0.00036788 | 0.00018808 | 9000 | 0 | 0.049819 | 0.00013214 | 9000 | 5414 | 0.00036788 | 0.00018808 | 9000 | 0 | 0.058826 | 0.00011588
9100 | 5503 | 0.00056349 | 0.00010378 | 9100 | 0 | 0.056092 | 0.00011432 | 9100 | 5503 | 0.00056349 | 0.00010378 | 9100 | 0 | 0.06397 | 0.00019183
9200 | 5594 | 0.00036979 | 0.00017881 | 9200 | 0 | 0.06255 | 0.00014018 | 9200 | 5594 | 0.00036979 | 0.00017881 | 9200 | 0 | 0.068938 | 0.00017761
9300 | 5688 | 0.00067408 | 9.9112e-05 | 9300 | 0 | 0.069153 | 0.00012777 | 9300 | 5688 | 0.00067408 | 9.9112e-05 | 9300 | 0 | 0.074167 | 0.00021284
9400 | 5783 | 0.0020919 | 0.00014896 | 9400 | 0 | 0.076126 | 0.00013821 | 9400 | 5783 | 0.0020919 | 0.00014896 | 9400 | 0 | 0.078807 | 0.00010416
9500 | 5882 | 0.0019713 | 0.00014154 | 9500 | 0 | 0.08241 | 0.00014413 | 9500 | 5882 | 0.0019713 | 0.00014154 | 9500 | 0 | 0.082711 | 0.00017025
9600 | 5983 | 0.0016273 | 0.00013704 | 9600 | 0 | 0.088808 | 0.0002686 | 9600 | 5983 | 0.0016273 | 0.00013704 | 9600 | 0 | 0.087149 | 0.00011537
9700 | 6087 | 0.0087757 | 9.6447e-05 | 9700 | 0 | 0.094904 | 0.00015733 | 9700 | 6087 | 0.0087757 | 9.6447e-05 | 9700 | 0 | 0.091024 | 0.00018582
9800 | 6195 | 0.03158 | 8.0932e-05 | 9800 | 0 | 0.10082 | 8.3335e-05 | 9800 | 6195 | 0.03158 | 8.0932e-05 | 9800 | 0 | 0.094577 | 0.00014629
9900 | 6307 | 0.055656 | 0.00015946 | 9900 | 0 | 0.10646 | 0.00015899 | 9900 | 6307 | 0.055656 | 0.00015946 | 9900 | 0 | 0.098029 | 0.00021543
10000 | 6423 | 0.072526 | 0.0001438 | 10000 | 0 | 0.1122 | 0.00018028 | 10000 | 6423 | 0.072526 | 0.0001438 | 10000 | 0 | 0.10101 | 0.00019003
10100 | 6544 | 0.061427 | 0.00017536 | 10100 | 0 | 0.11771 | 9.2794e-05 | 10100 | 6544 | 0.061427 | 0.00017536 | 10100 | 0 | 0.10396 | 0.00023511
10200 | 6672 | 0.034687 | 0.00011747 | 10200 | 0 | 0.12297 | 0.00014142 | 10200 | 6672 | 0.034687 | 0.00011747 | 10200 | 0 | 0.1066 | 0.00015812
10300 | 6806 | 0.011792 | 0.00023853 | 10300 | 0 | 0.12819 | 0.00025712 | 10300 | 6806 | 0.011792 | 0.00023853 | 10300 | 0 | 0.10893 | 0.0002
10400 | 6948 | 0.0029372 | 8.5119e-05 | 10400 | 0 | 0.13284 | 0.00018105 | 10400 | 6948 | 0.0029372 | 8.5119e-05 | 10400 | 0 | 0.11111 | 0.00013642
10500 | 7101 | 0.0043779 | 0.00010839 | 10500 | 0 | 0.13731 | 0.00020884 | 10500 | 7101 | 0.0043779 | 0.00010839 | 10500 | 0 | 0.11277 | 0.00019365
10600 | 7266 | 0.0058826 | 0.00016432 | 10600 | 0 | 0.14143 | 0.00012247 | 10600 | 7266 | 0.0058826 | 0.00016432 | 10600 | 0 | 0.11434 | 0.00015092
10700 | 7449 | 0.004695 | 0.00015558 | 10700 | 0 | 0.14504 | 0.00020683 | 10700 | 7449 | 0.004695 | 0.00015558 | 10700 | 0 | 0.11539 | 0.0001453
10800 | 7655 | 0.0029709 | 0.00015194 | 10800 | 0 | 0.14809 | 0.00016915 | 10800 | 7655 | 0.0029709 | 0.00015194 | 10800 | 0 | 0.1161 | 0.00024495
10900 | 7899 | 0.0031229 | 8.5545e-05 | 10900 | 0 | 0.15071 | 0.00019003 | 10900 | 7899 | 0.0031229 | 8.5545e-05 | 10900 | 0 | 0.11652 | 0.00017159
11000 | 8214 | 0.0033659 | 0.00017542 | 11000 | 0 | 0.15293 | 0.00015811 | 11000 | 8214 | 0.0033659 | 0.00017542 | 11000 | 0 | 0.11657 | 0.0002
[12 empty] | 19100 | 0 | 0.016108 | 0.00016292
[12 empty] | 19200 | 0 | 0.014903 | 0.00014799
[12 empty] | 19300 | 0 | 0.016176 | 0.00012866
[12 empty] | 19400 | 0 | 0.016007 | 0.0002265
[12 empty] | 19500 | 0 | 0.016024 | 0.00017074
[12 empty] | 19600 | 0 | 0.015817 | 0.00020106
[12 empty] | 19700 | 0 | 0.015554 | 0.00018776
[12 empty] | 19800 | 0 | 0.015171 | 0.00017273
[12 empty] | 19900 | 0 | 0.014936 | 0.00011013
[12 empty] | 20000 | 0 | 0.014607 | 0.00013546
[12 empty] | 20100 | 0 | 0.01427 | 0.0001243
[12 empty] | 20200 | 0 | 0.013863 | 0.00013162
[12 empty] | 20300 | 0 | 0.013483 | 0.00013426
[12 empty] | 20400 | 0 | 0.012978 | 0.00016791
[12 empty] | 20500 | 0 | 0.012683 | 0.00018682
[12 empty] | 20600 | 0 | 0.012198 | 0.00017312
[12 empty] | 20700 | 0 | 0.011696 | 0.00014388
[12 empty] | 20800 | 0 | 0.011258 | 0.00012716
[12 empty] | 20900 | 0 | 0.010768 | 0.00020535
[12 empty] | 21000 | 0 | 0.010457 | 0.00019704
[12 empty] | 21100 | 0 | 0.01008 | 8.5545e-05
[12 empty] | 21200 | 0 | 0.009792 | 0.0001023
[12 empty] | 21300 | 0 | 0.0092399 | 0.00017409
[12 empty] | 21400 | 0 | 0.0088609 | 0.00015644
[12 empty] | 21500 | 0 | 0.0085371 | 0.00018153
[12 empty] | 21600 | 0 | 0.0081788 | 0.00012032
[12 empty] | 21700 | 0 | 0.0079382 | 0.00020736
[12 empty] | 21800 | 0 | 0.0076387 | 0.00010262
[12 empty] | 21900 | 0 | 0.0073797 | 0.00020862
[12 empty] | 22000 | 0 | 0.0071969 | 0.00017898

## Calc. Data
Wavelength | S Plane | P Plane | Avg S& P
0.8 | 0.8688% | 0.5351% | 0.702% | 86.3%
0.81 | 0.8292% | 0.5272% | 0.6782% | 86.25%
0.82 | 0.8347% | 0.543% | 0.6888% | 86.2%
0.83 | 0.9108% | 0.6104% | 0.7606% | 86.15%
0.84 | 0.8529% | 0.5882% | 0.7205% | 86.1%
0.85 | 0.728% | 0.517% | 0.6225% | 86%
0.86 | 0.6304% | 0.4618% | 0.5461% | 86.5%
0.87 | 0.7757% | 0.5907% | 0.6832% | 87%
0.88 | 0.7776% | 0.6136% | 0.6956% | 87.5%
0.89 | 0.3809% | 0.3116% | 0.3463% | 88%
0.9 | 0.6572% | 0.5566% | 0.6069% | 89%
0.91 | 0.8991% | 0.7884% | 0.8437% | 89.5%
0.92 | 0.5409% | 0.4908% | 0.5159% | 91.5%
0.93 | 0.887% | 0.8271% | 0.8571% | 91%
0.94 | 2.512% | 2.426% | 2.469% | 91.4%
0.95 | 2.196% | 2.188% | 2.192% | 91.8%
0.96 | 1.686% | 1.718% | 1.702% | 92%
0.97 | 8.553% | 8.918% | 8.736% | 92.5%
0.98 | 29.13% | 31.05% | 30.09% | 93%
0.99 | 48.88% | 53.08% | 50.98% | 93.5%
1 | 60.76% | 67.49% | 64.13% | 94%
1.01 | 49.05% | 55.54% | 52.3% | 94%
1.02 | 26.52% | 30.59% | 28.55% | 94%
1.03 | 8.647% | 10.18% | 9.411% | 94%
1.04 | 2.078% | 2.485% | 2.282% | 94%
1.05 | 2.997% | 3.649% | 3.323% | 94%
1.06 | 3.91% | 4.836% | 4.373% | 94%
1.07 | 3.043% | 3.825% | 3.434% | 94%
1.08 | 1.886% | 2.405% | 2.146% | 94%
1.09 | 1.948% | 2.519% | 2.234% | 94%
1.1 | 2.069% | 2.714% | 2.392% | 94%

## Text
Serial Number: | MR221-1
Catalog Number: | 5343ZD-
G/mm: | 60
Grating Type: | Echelle
Coating: | Aluminum
Blaze Order: | 30th
Slits: | NA
Aperture: | 7 mm
Operator: | RPI
Test Date: | 2002-08-13
Reference: | Measured Relative to Aluminum, Reported Absolute.
Polarizer: | Glan Taylor Polarizer
Polarization: | S & P Plane Polarization
Test: | Measured under near Littrow conditions.
I.R Slits: | 500 um

## Chart
| Thermo | RGL
Richardson Grating Laboratory | [6 empty] | phone: (585) 262-1331 • fax: (585) 262-1340
705 St Paul Street | [6 empty] | e-mail: gratings@gratinglab.com
Rochester, New York 14605 USA | [6 empty] | http://www.gratinglab.com
Diffraction Grating Efficiency
|  | Serial Number: | MR221-1 |  | Blaze Order: | 30th
|  | Catalog Number: | 5343ZD- |  | Slits: | NA
|  | G/mm: | 60 |  | I.R Slits: | 500 um
|  | Grating Type: | Echelle |  | Aperture: | 7 mm
|  | Coating: | Aluminum |  | Operator: | RPI
[5 empty] | Test Date: | 2002-08-13
|  | Notes: | Measured Relative to Aluminum, Reported Absolute.
Glan Taylor Polarizer
S & P Plane Polarization
Measured under near Littrow conditions.
Center of Ruled Area.