## Raw Data
| S PLANE GRATING |  |  |  | S PLANE REF. |  |  |  |  | P PLANE GRATING |  |  |  | P PLANE REF. |  |  | S PLANE GRATING |  |  |  | S PLANE REF. |  |  |  |  | P PLANE GRATING |  |  |  | P PLANE REF. |  |  | S PLANE GRATING |  |  |  | S PLANE REF. |  |  |  |  | P PLANE GRATING |  |  |  | P PLANE REF.
WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS | WL | ANGLE | SIGNAL | RMS
6300 | 6045 | 0.0052924 | 0.00047198 | 6300 | 0 | 0.20277 | 0.00064226 | 6300 | 6045 | 0.0036101 | 0.00019696 | 6300 | 0 | 0.11046 | 0.00055252
6310 | 6061 | 0.005008 | 0.000218 | 6310 | 0 | 0.20213 | 0.00043875 | 6310 | 6061 | 0.0037729 | 0.00021705 | 6310 | 0 | 0.11034 | 0.00065213
6320 | 6077 | 0.0044956 | 0.00024906 | 6320 | 0 | 0.2009 | 0.00034278 | 6320 | 6077 | 0.0034328 | 0.00021963 | 6320 | 0 | 0.10992 | 0.00025874
6330 | 6093 | 0.0044114 | 0.00025702 | 6330 | 0 | 0.19896 | 0.00065975 | 6330 | 6093 | 0.0031648 | 0.00018613 | 6330 | 0 | 0.10969 | 0.0004285
6340 | 6110 | 0.0045991 | 0.00028618 | 6340 | 0 | 0.19764 | 0.00040961 | 6340 | 6110 | 0.0033853 | 0.00048077 | 6340 | 0 | 0.10974 | 0.00049526
6350 | 6126 | 0.0046703 | 0.0001807 | 6350 | 0 | 0.19617 | 0.00051235 | 6350 | 6126 | 0.0034764 | 0.00024945 | 6350 | 0 | 0.10914 | 0.00040654
6360 | 6143 | 0.005838 | 0.00031741 | 6360 | 0 | 0.19378 | 0.00066291 | 6360 | 6143 | 0.0037301 | 0.00035517 | 6360 | 0 | 0.1086 | 0.00037081
6370 | 6159 | 0.0077394 | 0.00033615 | 6370 | 0 | 0.19222 | 0.00036324 | 6370 | 6159 | 0.0046438 | 0.00028679 | 6370 | 0 | 0.10878 | 0.00070139
6380 | 6176 | 0.010663 | 0.00021772 | 6380 | 0 | 0.19038 | 0.00033082 | 6380 | 6176 | 0.006829 | 0.00034493 | 6380 | 0 | 0.10833 | 0.0003
6390 | 6193 | 0.015021 | 0.00022948 | 6390 | 0 | 0.1883 | 0.00051961 | 6390 | 6193 | 0.0098187 | 0.00019368 | 6390 | 0 | 0.10808 | 0.00062605
6400 | 6210 | 0.020762 | 0.00010686 | 6400 | 0 | 0.18587 | 0.00051962 | 6400 | 6210 | 0.013657 | 0.00028487 | 6400 | 0 | 0.10719 | 0.00068089
6410 | 6227 | 0.027739 | 0.00038886 | 6410 | 0 | 0.18216 | 0.00077478 | 6410 | 6227 | 0.018428 | 0.00026537 | 6410 | 0 | 0.10718 | 0.0003383
6420 | 6244 | 0.035058 | 0.00018233 | 6420 | 0 | 0.17846 | 0.00045031 | 6420 | 6244 | 0.024039 | 0.00020642 | 6420 | 0 | 0.10712 | 0.00019221
6430 | 6261 | 0.043671 | 0.00015552 | 6430 | 0 | 0.17343 | 0.00032787 | 6430 | 6261 | 0.030743 | 0.0004843 | 6430 | 0 | 0.10589 | 0.00041366
6440 | 6278 | 0.0508 | 0.00042074 | 6440 | 0 | 0.16578 | 0.00081514 | 6440 | 6278 | 0.037408 | 0.00017605 | 6440 | 0 | 0.10513 | 0.00036742
6450 | 6295 | 0.054263 | 0.00038053 | 6450 | 0 | 0.14982 | 0.00055403 | 6450 | 6295 | 0.044489 | 0.00035593 | 6450 | 0 | 0.10471 | 0.00029768
6460 | 6313 | 0.060536 | 0.00067508 | 6460 | 0 | 0.14236 | 0.00067103 | 6460 | 6313 | 0.050886 | 0.00026548 | 6460 | 0 | 0.10379 | 0.00037565
6470 | 6330 | 0.07007 | 0.00037908 | 6470 | 0 | 0.14537 | 0.0002 | 6470 | 6330 | 0.057087 | 0.00023452 | 6470 | 0 | 0.10324 | 0.00055478
6480 | 6348 | 0.081146 | 0.00050897 | 6480 | 0 | 0.15321 | 0.00026194 | 6480 | 6348 | 0.062129 | 0.00023966 | 6480 | 0 | 0.10353 | 0.00030414
6490 | 6366 | 0.093671 | 0.00018745 | 6490 | 0 | 0.1647 | 0.00050497 | 6490 | 6366 | 0.066071 | 0.00045881 | 6490 | 0 | 0.10281 | 0.00030596
6500 | 6384 | 0.10907 | 0.00057446 | 6500 | 0 | 0.18116 | 0.00030867 | 6500 | 6384 | 0.068794 | 0.00036722 | 6500 | 0 | 0.10254 | 0.00025549
6510 | 6402 | 0.12658 | 0.00022791 | 6510 | 0 | 0.20392 | 0.00038658 | 6510 | 6402 | 0.069198 | 0.00031937 | 6510 | 0 | 0.10232 | 0.00039931
6520 | 6420 | 0.14611 | 0.00050111 | 6520 | 0 | 0.23358 | 0.00070848 | 6520 | 6420 | 0.068269 | 0.00024512 | 6520 | 0 | 0.10208 | 0.00031535
6530 | 6438 | 0.1675 | 0.00038406 | 6530 | 0 | 0.27072 | 0.00023334 | 6530 | 6438 | 0.066526 | 0.00036923 | 6530 | 0 | 0.10132 | 0.00047376
6540 | 6456 | 0.1892 | 0.00033167 | 6540 | 0 | 0.317 | 0.00059161 | 6540 | 6456 | 0.062873 | 0.00023141 | 6540 | 0 | 0.10126 | 0.00043621
6550 | 6475 | 0.20993 | 0.00035355 | 6550 | 0 | 0.36831 | 0.00094267 | 6550 | 6475 | 0.058187 | 0.00067276 | 6550 | 0 | 0.10161 | 0.0003855
6560 | 6493 | 0.22144 | 0.00053411 | 6560 | 0 | 0.42353 | 0.00069461 | 6560 | 6493 | 0.052624 | 0.00013785 | 6560 | 0 | 0.10159 | 0.00044284
6570 | 6512 | 0.22521 | 0.00059884 | 6570 | 0 | 0.47704 | 0.00056149 | 6570 | 6512 | 0.046653 | 0.00018262 | 6570 | 0 | 0.10079 | 0.00048591
6580 | 6531 | 0.21836 | 0.00044472 | 6580 | 0 | 0.52582 | 0.00026823 | 6580 | 6531 | 0.039741 | 0.00026737 | 6580 | 0 | 0.10078 | 0.00018559
6590 | 6550 | 0.19941 | 0.00088804 | 6590 | 0 | 0.56038 | 0.00062406 | 6590 | 6550 | 0.032921 | 0.00026203 | 6590 | 0 | 0.10054 | 0.00041866
6600 | 6569 | 0.052449 | 0.00039587 | 6600 | 0 | 0.17803 | 0.0004 | 6600 | 6569 | 0.0082294 | 0.00020191 | 6600 | 0 | 0.030733 | 0.00015732
6610 | 6589 | 0.045948 | 0.00028008 | 6610 | 0 | 0.19277 | 0.00036056 | 6610 | 6589 | 0.0071143 | 0.00024747 | 6610 | 0 | 0.032849 | 0.00031565
6620 | 6608 | 0.03821 | 0.00026968 | 6620 | 0 | 0.20537 | 0.00055 | 6620 | 6608 | 0.0059193 | 0.00020219 | 6620 | 0 | 0.035124 | 0.00030406
6630 | 6628 | 0.030359 | 0.00030498 | 6630 | 0 | 0.21556 | 0.00031269 | 6630 | 6628 | 0.0045799 | 0.00029335 | 6630 | 0 | 0.037383 | 0.00016432
6640 | 6647 | 0.022806 | 0.0003637 | 6640 | 0 | 0.22328 | 0.00065722 | 6640 | 6647 | 0.0031916 | 0.00021925 | 6640 | 0 | 0.040247 | 0.00033819
6650 | 6667 | 0.016706 | 0.00029134 | 6650 | 0 | 0.2289 | 0.00024495 | 6650 | 6667 | 0.0024786 | 0.00026626 | 6650 | 0 | 0.042079 | 0.00024827
6660 | 6687 | 0.012113 | 0.00019203 | 6660 | 0 | 0.23398 | 0.00038333 | 6660 | 6687 | 0.0019589 | 0.00020662 | 6660 | 0 | 0.044449 | 0.00033292
6670 | 6707 | 0.0096867 | 0.00042634 | 6670 | 0 | 0.2366 | 0.00055902 | 6670 | 6707 | 0.0015979 | 0.00017498 | 6670 | 0 | 0.046512 | 0.00019214
6680 | 6728 | 0.0084428 | 0.00021196 | 6680 | 0 | 0.24053 | 0.00047697 | 6680 | 6728 | 0.00157 | 0.00014979 | 6680 | 0 | 0.04844 | 0.00050522
6690 | 6748 | 0.0077226 | 0.00027053 | 6690 | 0 | 0.24199 | 0.00064118 | 6690 | 6748 | 0.0017812 | 0.00041429 | 6690 | 0 | 0.050883 | 0.00039096
6700 | 6769 | 0.0083068 | 0.00044138 | 6700 | 0 | 0.2438 | 0.0005172 | 6700 | 6769 | 0.001905 | 0.00025615 | 6700 | 0 | 0.05289 | 0.00018069

## Calc. Data
Wavelength | S Plane | P Plane | Mirror Reflectivity | Avg. Center | Avg. End | Avg. Start
0.63 | 2.357% | 2.951% | 90.3% | 2.654% | 3.824% | 1.662% | 2.714%
0.631 | 2.237% | 3.088% | 90.3% | 2.662% | 3.763% | 1.557% | 2.661%
0.632 | 2.021% | 2.82% | 90.3% | 2.42% | 3.331% | 1.542% | 2.431%
0.633 | 2.002% | 2.605% | 90.3% | 2.304% | 2.755% | 1.784% | 2.281%
0.634 | 2.101% | 2.786% | 90.3% | 2.443% | 1.972% | 1.989% | 2.135%
0.635 | 2.15% | 2.876% | 90.3% | 2.513% | 1.503% | 2.643% | 2.22%
0.636 | 2.72% | 3.102% | 90.3% | 2.911% | 1.204% | 3.548% | 2.554%
0.637 | 3.636% | 3.855% | 90.3% | 3.745% | 1.481% | 4.965% | 3.397%
0.638 | 5.058% | 5.692% | 90.3% | 5.375% | 2.456% | 6.861% | 4.897%
0.639 | 7.203% | 8.204% | 90.3% | 7.704% | 4.292% | 9.463% | 7.153%
0.64 | 10.09% | 11.5% | 90.3% | 10.8% | 7.531% | 12.62% | 10.32%
0.641 | 13.75% | 15.53% | 90.3% | 14.64% | 11.63% | 16.13% | 14.13%
0.642 | 17.74% | 20.26% | 90.3% | 19% | 16.79% | 20.11% | 18.63%
0.643 | 22.74% | 26.22% | 90.3% | 24.48% | 23.02% | 24.43% | 23.98%
0.644 | 27.67% | 32.13% | 90.3% | 29.9% | 29.55% | 29.03% | 29.49%
0.645 | 32.71% | 38.37% | 90.3% | 35.54% | 36.77% | 33.52% | 35.28%
0.646 | 38.4% | 44.27% | 90.3% | 41.34% | 44.07% | 37.69% | 41.03%
0.647 | 43.53% | 49.93% | 90.3% | 46.73% | 50.8% | 42.1% | 46.54%
0.648 | 47.83% | 54.19% | 90.3% | 51.01% | 57.3% | 45.34% | 51.21%
0.649 | 51.36% | 58.03% | 90.3% | 54.69% | 62.16% | 47.84% | 54.9%
0.65 | 54.37% | 60.58% | 90.3% | 57.47% | 65.54% | 49.88% | 57.63%
0.651 | 56.05% | 61.07% | 90.3% | 58.56% | 67.76% | 50.59% | 58.97%
0.652 | 56.49% | 60.39% | 90.3% | 58.44% | 68.42% | 50.46% | 59.11%
0.653 | 55.87% | 59.29% | 90.3% | 57.58% | 66.76% | 49.08% | 57.81%
0.654 | 53.9% | 56.07% | 90.3% | 54.98% | 63.86% | 47.12% | 55.32%
0.655 | 51.47% | 51.71% | 90.3% | 51.59% | 60.29% | 44.33% | 52.07%
0.656 | 47.21% | 46.78% | 90.3% | 47% | 54.28% | 40.61% | 47.29%
0.657 | 42.63% | 41.8% | 90.3% | 42.21% | 48.3% | 36.89% | 42.47%
0.658 | 37.5% | 35.61% | 90.3% | 36.55% | 41.38% | 32.34% | 36.76%
0.659 | 32.13% | 29.57% | 90.3% | 30.85% | 34.52% | 27.77% | 31.05%
0.66 | 26.6% | 24.18% | 90.3% | 25.39% | 27.5% | 23.19% | 25.36%
0.661 | 21.52% | 19.56% | 90.3% | 20.54% | 21.3% | 19.23% | 20.36%
0.662 | 16.8% | 15.22% | 90.3% | 16.01% | 15.16% | 14.99% | 15.39%
0.663 | 12.72% | 11.06% | 90.3% | 11.89% | 10.72% | 11.74% | 11.45%
0.664 | 9.223% | 7.161% | 90.3% | 8.192% | 6.81% | 8.866% | 7.956%
0.665 | 6.59% | 5.319% | 90.3% | 5.955% | 3.837% | 6.612% | 5.468%
0.666 | 4.675% | 3.98% | 90.3% | 4.327% | 2.458% | 4.783% | 3.856%
0.667 | 3.697% | 3.102% | 90.3% | 3.4% | 1.449% | 3.828% | 2.892%
0.668 | 3.17% | 2.927% | 90.3% | 3.048% | 1.244% | 2.952% | 2.415%
0.669 | 2.882% | 3.161% | 90.3% | 3.021% | 1.416% | 2.791% | 2.409%
0.67 | 3.077% | 3.252% | 90.3% | 3.165% | 1.767% | 2.901% | 2.611%

## Text
Serial Number: | MR221-1
Catalog Number:
G/mm: | 60
Grating Type: | Echelle
Coating: | Aluminum
Blaze Order: | 46th
Slits: | 50 um
Aperture: | 7 mm
Operator: | RPI
Test Date: | 2002-08-14
Reference: | Measured Relative, Reported Absolute
Polarizer: | Glan Taylor Polarizer
Polarization: | S & P Planes
Test: | Measured in Littrow
Slits I.R.: | NA

## Chart
| Thermo | RGL
Richardson Grating Laboratory | [6 empty] | phone: (585) 262-1331 • fax: (585) 262-1340
705 St Paul Street | [6 empty] | e-mail: gratings@gratinglab.com
Rochester, New York 14605 USA | [6 empty] | http://www.gratinglab.com
Diffraction Grating Efficiency
64.0903
|  | Serial Number: | MR221-1 |  | Blaze Order: | 46th
|  | Catalog Number: | 0 |  | Slits: | 50 um
|  | G/mm: | 60 |  | Slits I.R.: | NA
|  | Grating Type: | Echelle |  | Aperture: | 7 mm
|  | Coating: | Aluminum |  | Operator: | RPI
[5 empty] | Test Date: | 2002-08-14
Measured Relative, Reported Absolute
Glan Taylor Polarizer
S & P Planes
Measured in Littrow
Uniformity