## L4 narrow and wide bonds
[6 empty] | Elastomer: |  |  | Note the sensitivity to bond thickness with the full width elastomer layer.
Lens 4 | [5 empty] | E = | 348
| Bond thk = 0.115", width = 0.25" |  |  |  |  | Cte = | 0.000178
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% |  |  | Full width bond athermalization trials.
100 deg F change
| Elastomer | Uz | Uz power |  |  | Rsph = | 9.863 |  |  |  | Elastomer | Uz | Uz power
| Sx max | total | corrected |  |  | T 3% Swell = | 57.3066 |  |  |  | Sx max | total | corrected
thk | psi | nm | nm | [6 empty] | thk | psi | nm | nm
Ref. Model distortion, 100 deg F
[5 empty] | Kinematic support, no stress |  |  |  |  | 0.115
0.115 |  | 0.386 | 0.356 |  |  | Power out | 236 |  |  | 0.11 |  | 1282
[6 empty] | Power in | 10186 |  |  | 0.107 |  | 185 | 54
[10 empty] | 0.106 |  | 197 | 15
[10 empty] | 0.105 |  | 583 | 86
[10 empty] | 0.1 |  | 2626 | 456
|  |  | Narrow Bond, 0.25" Wide x 0.115" thick | [6 empty] | Full Width Bond, 0.106" thick
Glass BSM51Y
E = 901 (13.6E6 psi) |  |  | Surf. Distortion |  |  | Surf. Distortion |  | Y displ. |  | Surf. Distortion |  |  | Surf. Distortion |  | Y displ.
v = .256 |  |  | Power left in |  |  | Power Removed |  | microns |  | Power left in |  |  | Power Removed |  | microns
CTE = 3.5E-6/F |  |  | nm-rms | Waves PV |  | nm-rms | Waves PV |  |  | nm-rms | Waves PV |  | nm-rms | Waves PV
1 g Z on Elastomer |  |  | 18.059 | 0.10124 |  | 2.5646 | 0.015989 |  |  | 15.1 |  |  | 2.26
1 g Y on Elastomer |  |  | 2.9384 | 0.01934 |  | 2.9382 | 0.019295 |  |  | 4.2 |  |  | 4.1
Hydrostatic Oil Pressure, 1 g Y |  |  | 48.076 | 0.28425 |  | 9.218 | 0.064842 | 2.23 |  | 41.5 |  |  | 9.1 |  | 0.24
Hydrostatic Oil Pressure and |  |  | 48.018 | 0.27862 |  | 8.7051 | 0.059104 | 0.77 |  | 41 |  |  | 10.2 |  | 0.01
Hydrostatic Oil Pressure 1 g |  |  | 13.752 | 0.080122 |  | 2.6177 | 0.017787 | 3.022 |  | 11.8 |  |  | 2.4 |  | 0.25
Hydrostatic Oil Pressure and |  |  | 31.801 | 0.18136 |  | 5.1747 | 0.033619 |  |  | 26.8 |  |  | 4.7
Uniform Oil Pressure 1.0 psi |  |  | 203.27 | 1.1683 |  | 36.707 | 0.2409 |  |  | 174.8 |  |  | 33.8
100 deg F Temperature change |  |  | 0.42284 | 0.0032921 |  | 0.39395 | 0.0032595 |  |  | 208.5 |  |  | 15
3% Swelling |  |  | 334 |  |  | 17.05 |  |  |  | 24259 | 141 |  | 4428 | 30
[7 empty] | Decenter is reduced from 2-3 u-m to 0.25 u-m |  |  |  | But sensitivity to swelling is increased by two orders of magnitude

## Sheet1
Results Status Summary, MAESTRO Lens Mounting
[6 empty] | Elastomer: |  | Glass BSM51Y
Lens 6 | [5 empty] | E = | 348 | E = 901 (13.6E6 psi) | Surf. Distortion |  | Surf. Distortion |  | Y displ.
| Bond thk = 0.140", width = 0.2585" |  |  |  |  | Cte = | 0.000178 | v = .256 | Power left in |  | Power Removed |  | microns
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% | CTE = 3.5E-6/F | nm-rms | Waves PV | nm-rms | Waves PV
100 deg F change
| Elastomer | Uz | Uz power |  |  | Rsph = | -21.029 | 1 g Z on Elastomer | 12.519 | 0.067991 | 0.69313 | 0.0036504
| Sx max | total | corrected |  |  | T 3% Swell = | 57.3066 | 1 g Y on Elastomer | 0.71076 | 0.0070093 | 0.71076 | 0.0070093 | 2.692
thk | psi | nm | nm |  |  |  |  | Hydrostatic Oil Pressure, 1 g Y | 39.761 | 0.24087 | 6.5216 | 0.044585 | 1.013
[8 empty] | Hydrostatic Oil Pressure and rmax = 10.000 | 39.681 | 0.23705 | 6.0172 | 0.041717 | 3.708
0.14 |  | 26.1 | 15.17 |  |  |  |  | Hydrostatic Oil Pressure 1 g rmax = 10.000 | 19.642 | 0.10797 | 1.3512 | 0.0078765
[8 empty] | Hydrostatic Oil Pressure and rmax = 10.000 | 32.16 | 0.17597 | 2.0419 | 0.01153
[8 empty] | Uniform Oil Pressure 1.0 psi rmax = 10.000 | 203.81 | 1.1289 | 18.754 | 0.11417
[8 empty] | 100 deg F Temperature change rmax = 10.000 | 26.102 | 0.1612 | 15.166 | 0.096251
3% swelling
0.14 |  | 102.2 | 55.7
[6 empty] | Elastomer: |  | Glass CaF2
Lens 5 | [5 empty] | E = | 348 | E = 10E6 estimated | Surf. Distortion |  | Surf. Distortion |  | Y displ.
| Bond thk = 0.110", width = 0.343" |  |  |  |  | Cte = | 0.000178 | v = .25 estimated | Power left in |  | Power Removed |  | microns
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% | CTE = 10.5E-6/F | nm-rms | Waves PV | nm-rms | Waves PV
Power not removed
| Uy, 1 g Y | nm-rms | nm-rms |  |  | Rsph = | -21.029 | 1 g Z on Elastomer | 7.5 | 0.04 | 0.2 | 0.0094
|  | 100 F | 3% swell |  |  | T 3% Swell = | 57.3066 | 1 g Y on Elastomer | 0.6 | 0.0071 | 0.6 | 0.0071 | 2.17
thk | u-m | [6 empty] | 100 deg F Temperature change, three pt Uz spt | 68.3 | 0.377 | 35.9 | 0.189
0.2 | 5.08 | 11.38 | 11.34 | (.46" wide) |  |  |  | 100 deg F Temperature change, line Uz spt | 11.21 | 0.114 | 11.096 | 0.0579
0.11 | 2.17 | 11 | 31 | (.343" wide)
[8 empty] | 3 % swelling | 31.25 | 0.168 | 16.413 | 0.0857
3% swelling
0.14 |  | 104 | 57
[6 empty] | Elastomer: |  | Glass BSM51Y
Lens 4 | [5 empty] | E = | 348 | E = 901 (13.6E6 psi) | Surf. Distortion |  | Surf. Distortion |  | Y displ.
| Bond thk = 0.115", width = 0.25" |  |  |  |  | Cte = | 0.000178 | v = .256 | Power left in |  | Power Removed |  | microns
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% | CTE = 3.5E-6/F | nm-rms | Waves PV | nm-rms | Waves PV
100 deg F change
| Elastomer | Uz | Uz power |  |  | Rsph = | 9.863 | 1 g Z on Elastomer | 18.059 | 0.10124 | 2.5646 | 0.015989
| Sx max | total | corrected |  |  | T 3% Swell = | 57.3066 | 1 g Y on Elastomer | 2.9384 | 0.01934 | 2.9382 | 0.019295
thk | psi | nm | nm |  |  |  |  | Hydrostatic Oil Pressure, 1 g Y | 48.076 | 0.28425 | 9.218 | 0.064842 | 2.23
[5 empty] | Ref. Model distortion, 100 deg F |  |  | Hydrostatic Oil Pressure and rmax = 10.000 | 48.018 | 0.27862 | 8.7051 | 0.059104 | 0.77
[5 empty] | Kinematic support, no stress |  |  | Hydrostatic Oil Pressure 1 g rmax = 10.000 | 13.752 | 0.080122 | 2.6177 | 0.017787 | 3.022
0.115 |  | 0.386 | 0.356 |  |  | Power out | 236 | Hydrostatic Oil Pressure and rmax = 10.000 | 31.801 | 0.18136 | 5.1747 | 0.033619
[6 empty] | Power in | 10186 | Uniform Oil Pressure 1.0 psi rmax = 10.000 | 203.27 | 1.1683 | 36.707 | 0.2409
[8 empty] | 100 deg F Temperature change rmax = 10.000 | 0.42284 | 0.0032921 | 0.39395 | 0.0032595
3% swelling
0.14 |  | 334 | 17.047
[6 empty] | Elastomer: |  | Glass PBM18Y
Lens 3 | [5 empty] | E = | 348 | E = 598 (9.03E6 psi) | Surf. Distortion |  | Surf. Distortion |  | Y displ.
| Bond thk = 0.110", width = 0.353" |  |  |  |  | Cte = | 0.000178 | v = .223 | Power left in |  | Power Removed |  | microns
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% | CTE = 4.89E-6/F | nm-rms | Waves PV | nm-rms | Waves PV
100 deg F change
| Elastomer | Uz | Uz power |  |  | Rsph = | -11.7941 | 1 g Z on Elastomer | 38.79 | 0.203 | 3.78 | 0.0206
| Sx max | total | corrected |  |  | T 3% Swell = | 57.3066 | 1 g Y on Elastomer | 5.99 | 0.044 | 5.99 | 0.0444 | 0.924
thk | psi | nm | nm | thermal one side of elastomer constrained |  |  |  | 100 deg F Temperature change rmax = 10.000 | 7.6 | 0.039 | 3.19 | 0.0157
0.11 |  | 7.6 | 3.2
0.115 |  | 275 | 14.08
0.105 |  | 7.6 | 3.2
3% swelling |  | 2513 | 145
[6 empty] | Elastomer: |  | Glass Fused Silica
Lens 2 | [5 empty] | E = | 348 | E = 10.1E6 psi | Surf. Distortion |  | Surf. Distortion |  | Y displ.
| Bond thk = 0.18", width = 0.2995" |  |  |  |  | Cte = | 0.000178 | v = .17 | Power left in |  | Power Removed |  | microns
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% | CTE = .29E-6/F | nm-rms | Waves PV | nm-rms | Waves PV
100 deg F change
| Elastomer | Uz | Uz power |  |  | Rsph = | -11.7941 | 1 g Z on Elastomer | 40.3 | 0.218 | 3.72 | 0.019
| Sx max | total | corrected |  |  | T 3% Swell = | 57.3066 | 1 g Y on Elastomer | 1.96 | 0.019 | 1.96 | 0.019 | 3.58
thk | psi | nm | nm |  |  |  |  | 100 deg F | 8.8 | 0.045 | 0.48 | 0.0031
0.18 |  | 8.8 | 0.5
3% swelling |  | 464 | 43.2
[6 empty] | Elastomer: |  | Glass BSM51Y
Lens 1 | [5 empty] | E = | 348 | E = 901 (13.6E6 psi) | Surf. Distortion |  | Surf. Distortion |  | Y displ.
| thk = .08, width =0.226" |  |  |  |  | Cte = | 0.000178 | v = .256 | Power left in |  | Power Removed |  | microns
Elastomer Bond Thickness Optimization | [5 empty] | 100 F = | 1.78% | CTE = 3.5E-6/F | nm-rms | Waves PV | nm-rms | Waves PV
100 deg F change
| Elastomer | Uz | Uz power |  |  | Rsph = | -11.7941 | 1 g Z on Elastomer | 11.25 | 0.063 | 0.87 | 0.0042
| Sx max | total | corrected |  |  | T 3% Swell = | 57.3066 | 1 g Y on Elastomer | 1.134 | 0.098 | 1.13 | 0.0098 | 0.46
thk | psi | nm | nm | [5 empty] | 37.19 | 0.1995 | 4.01 | 0.0202
0.08 |  | 37.2 | 4.01
3% swelling |  | 1123 | 92