# SP	14098

REVISION:

DATE REV:	10/06/04

PROJECT:	MAESTRO

## PROCEDURE

### FOR PRISM ALIGNMENT

SP14098

Prepared By:	Michelle Reed

Date:	10/06/04

APPROVALS:

Optical Engineer:	Michelle Reed	Date: 10/06/04

Mechanical Engineer:	Scott Mathews	Date: 10/06/04

Program Scientist:	Jill Bechtold	Date10/06/04

Released By:	Greg Landis	Date: 10/06/04

This procedure outlines the process of mounting the Prism into its cell.  All other alignment of this part into the assembly is covered under SP14099.

Equipment needed:

Scotchweld 2216 structural adhesive (grey)

CMM machine

Gauge blocks

Shims

Calipers

Gloves-Latex

Lens Cloth

Gauge blocks

Shimstock

## Drawings

13285  Prism Cell Assembly

13286  Prism Front Baffle

13287  Prism Rear Baffle

13288  Prism Flexure Ring Weldment

13478  Tip/Tilt Adjuster

13700  Prism Flexure Ring Mounting Flange

- Wear latex gloves for the duration of this procedure.

- Clean the surface of the CMM table with acetone.  Place a lens cloth on the surface of the CMM table.

- Place the prism on the lens cloth so that surface 1 is facing down.  Surface 1 is the side that has the repaired chips. See Figure 1.

Figure 1- Orientation of the prism on CMM table.

- Using the CMM, characterize the prism and the plane of the center of mass for the prism.  Mark this position on the edge of the prism, at regular intervals with a fine tip sharpie marker.  A small dot will do.  This will assist in the placement of the weldment.  Refer to Figure 1 above.

- Carefully lower the Flexure ring weldment over the prism, with the pads facing down  Refer to Drawing 13288.  Shim the positioning of the weldment with gauge blocks and shims until it is roughly concentric with the prism, and the pads are roughly centered on the center of mass of the prism, taking care not to bend the pads.  It should be noted that there is very little clearance between the pads and the prism.

- Characterize the position of the weldment with the CMM, and compare information for irregularities with the concentricity or alignment with the center of mass.

- Shim the weldment until the height of it is consistant to have the pads at the center of mass to within the tolerance listed in table 1.  See figure 2.

Figure 2- shimming of weldment to center of gravity

- Adjust the weldment radially in small increments until it is concentric to the prism to within the tolerances specified in Table 1.

- Mix the 2216 adhesive per the manufacturer’s instructions.  Using the dispenser gun with a 14 gauge tapered tip, apply a 0.008” glue bond to the pads and adhere them to the prism.

- Allow the glue to set without movement.  A slight radially symmetric clamping force must be applied to the pads to keep them firmly pressed against the edge of the prism, until the cure is strong enough for movement of the part. The manufacturer’s instructions state that the full cure time for 75 degrees F is 7 days.  The cure time increases with decreasing temperature.  Cure and label 2 witness samples, one that is an equivalent thickness of the bond, and one that is thicker than the bond.

- Once the prism/weldment cure has hardened thoroughly, mount the prism to the prism flexure ring on the space-frame with the tip tilt adjustment screws.

- You have now completed the mounting of the prism into its cell.  See assembly procedure SP14099 for the fine alignment of the prism to the collimator system.