ccdlog

date				_____________

telescope			_____________

detector name		_____________	(90Prime, BCSpec, Mont4K)

zero image

stddev		-	-	_____________

mean		-	-	_____________ DN

min		-	-	_____________ DN

max		-	-	_____________ DN

gain		-	-	_____________ electrons/DN

read noise	-	-	_____________ electrons

cam temp	-	-	_____________ C

dew temp	-	-	_____________ C

overscan 	-	-	_____________ counts below image

column plot gradient 	_____________ DN

binned	-	-	_____________

5 minute dark

stddev		-	-	_____________

mean		-	-	_____________ DN

min		-	-	_____________ DN

max		-	-	_____________ DN

read noise	-	-	_____________ electrons

overscan	-	-	_____________ counts below image

column plot gradient 	_____________ DN

binned	-	-	_____________

Camera on for ___________ hours for zero image.

Installed by:	  ____________________________

Comments:

email to:

90”	garyr, bwood, jhoschei, mlesser, dbaxter, peterson, psmith

61”	garyr, jgrantham, jhoschei, mlesser, dbaxter, peterson, psmith, sbland, jberryman